## System operation log template
Operation log encoding (Int)10000 System log: Device control 30000 System log: System scheduling 50000 Operation log: System operation 70000 Operation log: Device operation | Logging information (String)Operation log summary information | System - System (1) AUDIT - AUDIT (2) | period/aperiodic | Log level classification (Enum)Error - ERROR (3) Operation - OPERATION (2) Info - INFO (1) | Log operation objectThe name of the device being operated or the name of the system scheduler | Logging result information
eventCode | eventInfo | eventCategory | period/trig | event | operator | functionCode | FunctionDescr | addDescr
10001 | Equipment Operation | System | trig | Operation | ems controller | 1 | Grid connection
10001 | Equipment Operation | System | trig | Operation | ems controller | 2 | Off-grid
10002 | Operate PCS Switch | System | trig | Operation | ems controller | 1 | Power on
10002 | Operate PCS Switch | System | trig | Operation | ems controller | 2 | Shut down
30001 | Network Status Monitoring | System | trig | Info | ems controller | 1 | The network cable was unplugged. | port[%s] The network cable was unplugged.
30001 | Network Status Monitoring | System | trig | Info | ems controller | 2 | Equipment routing change | Device routing change, action [%s], network port [%s], gateway [%s], target route [%s], priority [%s]
70001 | System Startup | System | trig | Info | ems controller | 1 | System startup
70002 | Diagnosis | System | trig | Info | ems controller | 1 | self-diagnosis begin | Total [%s] diagnostic points since diagnosis started
70002 | Diagnosis | System | trig | Info | ems controller | 2 | Self-diagnosis (normal) | Step [%s/%s]-[%s] self-diagnosis is normal
70002 | Diagnosis | System | trig | Info | ems controller | 3 | Self-diagnosis (abnormal) | Step [%s/%s]-[%s] Self-diagnosis exception
70002 | Diagnosis | System | trig | Info | ems controller | 4 | Self-diagnosis completed | Self-diagnosis completed, diagnosis passed [%s] items but failed [%s] items
70003 | Save Document | System | trig | Info | ems controller | 1 | File name | File name:[%s]
70004 | Updated With New Plans In Remote Mode | System | trig | Info | ems controller | 1
70006 | Emms Cloud Control Failure | System | trig | Operation | emms cloud module | 1 | The emms2 currently has no control permissions
70007 | Iec104 Connection Status | System | trig | Info | ems controller | 1 | Disconnected
70007 | Iec104 Connection Status | System | trig | Info | ems controller | 2 | Connected
70008 | ModbusTcp Connection Status | System | trig | Info | ems controller | 1 | Disconnected
70008 | ModbusTcp Connection Status | System | trig | Info | ems controller | 2 | Connected
70101 | Emms Cloud Login | System | period | Info | emms cloud module | 1 | logging in
70101 | Emms Cloud Login | System | period | Info | emms cloud module | 2 | login successful
70102 | Emms Cloud Operates The Write Point | System | trig | Operation | emms cloud module | 1 | Operation successful | Point name [%s] value [%s]
70102 | Emms Cloud Operates The Write Point | System | trig | Operation | emms cloud module | 2 | Operation failed | Writing point [%s] value [%s], but disabled due to local mode
70103 | Emms Cloud Updated Plans | System | trig | Operation | emms cloud module | 1
70104 | Emms Cloud Has Updated The Alarm Disabling List | System | trig | Operation | emms cloud module | 1
70105 | Emms Cloud Reading Data | System | trig | Info | emms cloud module | 1 | ems read-only data
70105 | Emms Cloud Reading Data | System | trig | Info | emms cloud module | 2 | ems read and write data
70105 | Emms Cloud Reading Data | System | trig | Info | emms cloud module | 3 | emms cloud read the data of device [%s]
70105 | Emms Cloud Reading Data | System | trig | Info | emms cloud module | 4 | emms cloud read all alarms
70106 | Cloud Network Status On The Device | System | period | Info | emms cloud module | 1 | The emms2 network is disconnected or disconnected
70106 | Cloud Network Status On The Device | System | period | Info | emms cloud module | 2 | The emms2 network connection is successful. Procedure
70107 | Station-Controlled Login | System | trig | Info | Station control | 1 | Be logging in
70107 | Station-Controlled Login | System | trig | Info | Station control | 2 | Login successful
70108 | The Station Control Operates The Write Bit | System | trig | Operation | Station control | 1 | Operation successful | Operation [%s]
70108 | The Station Control Operates The Write Bit | System | trig | Operation | Station control | 2 | Operation failed | Operation [%s] failed
70109 | Station Control Updated The Plan | System | trig | Operation | Station control | 1
70110 | Station Control Updated The Alarm Disabled List | System | trig | Operation | Station control | 1
70111 | Station Control Reads Data | System | trig | Info | Station control | 1 | ems read-only data
70111 | Station Control Reads Data | System | trig | Info | Station control | 2 | ems Read and write data
70111 | Station Control Reads Data | System | trig | Info | Station control | 3 | The station operator read the device's data
70111 | Station Control Reads Data | System | trig | Info | Station control | 4 | Station controller read the full alarm
70112 | Status Of The Station Control Network On The Device | System | trig | Info | Station control | 1 | The station control network is disconnected or disconnected
70112 | Status Of The Station Control Network On The Device | System | trig | Info | Station control | 2 | The station control network connection is successful
70115 | The Northbound Control Is Delivered | System | trig | Operation | Third-party cloud | 1 | The northbound control is successfully delivered. Procedure
70115 | The Northbound Control Is Delivered | System | trig | Operation | Third-party cloud | 2 | The northbound control fails to be delivered
70116 | Northbound Updated The Plan | System | trig | Operation | Third-party cloud | 1
70201 | Opc Client Modification Point | System | trig | Operation | opc host computer | 1 | Operation successful | Point name [%s] value [%s]
70202 | Format Disk | System | trig | Operation | opc host computer | 1
70203 | Upgrade | System | trig | Operation | opc host computer | 1
70204 | Restart Software | System | trig | Operation | opc host computer | 1
70205 | Reboot The Board Reboot | System | trig | Operation | opc host computer | 1
70206 | Write Configuration File | System | trig | Operation | opc host computer | 1 | File name | File name:[%s]
70207 | School Hours | System | trig | Operation | opc host computer | 1
70208 | Factory Device Diagnostics | System | trig | Operation | opc host computer | 1
70209 | On-Site Charge And Discharge Diagnosis | System | trig | Operation | opc host computer | 1
70210 | Penetrate | System | trig | Operation | opc host computer | 1 | Towards The device sent Device returned | Towards[%s]The device sent[%s]Device returned[%s]
70210 | Penetrate | System | trig | Operation | opc host computer | 2 | Towards Device sends fail | Towards[%s]Device sends[%s]fail
70211 | PING | System | trig | Operation | opc host computer | 1 | PING success | PING [%s]success
70211 | PING | System | trig | Operation | opc host computer | 2 | PING time out | PING [%s]time out
70212 | Console Command Operations | System | trig | Operation | opc host computer | 1 | enter and return | enter [%s]return[%s]
70212 | Console Command Operations | System | trig | Operation | opc host computer | 2 | enter fail | enter [%s]fail
70213 | Document | System | trig | Operation | opc host computer | 1 | Upload file | Upload file [%s]
70213 | Document | System | trig | Operation | opc host computer | 2 | Download file | Download file [%s]

## Sheet1
System - System (1) AUDIT - AUDIT (2) | Log level classification (Enum)Error - ERROR (3) Operation - OPERATION (2) Info - INFO (1)
Log category | Log level
System | Operation
System | Operation
System | Info
System | Info
System | Info
System | Info
System | Info
System | Operation
System | Operation
System | Operation
System | Info
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation
System | Operation